Quality Manual: Table of contents

| Number | Section | Page |
| --- | --- | --- |
| 1.0. | General | 3 |
| 1.1. | Index and revision status | 3 |
| 1.2. | Purpose | 3 |
| 2.0. | Background of the laboratory | 3 |
| 2.1. | Activities | 3 |
| 2.2. | History | 3 |
| 3.0. | Definitions and conventions | 3 |
| 3.1. | Definitions and terminology | 3 |
| 3.2. | Abbreviations | 4 |
| 4.0. | Management requirements | 4 |
| 4.1. | Organization and management | 4 |
| 4.2. | Quality system | 6 |
| 4.3. | Document control | 7 |
| 4.4. | Review of contracts | 7 |
| 4.5. | Examination by referral laboratories | 7 |
| 4.6. | External services and supplies | 8 |
| 4.7. | Advisory services | 8 |
| 4.8. | Complaints | 9 |
| 4.9. | Identification and control of nonconformities | 9 |
| 4.10. | Corrective action | 10 |
| 4.11. | Preventive action | 10 |
| 4.12. | Continual improvement | 11 |
| 4.13. | Quality and technical records | 11 |
| 4.14. | Internal audits | 12 |
| 4.15. | Management review | 12 |
| 5.0. | Technical requirements | 13 |
| 5.1. | Personnel | 13 |
| 5.2. | Accomodation and environmental conditions | 13 |
| 5.3. | Laboratory equipment | 14 |
| 5.4. | Pre-examination procedures | 15 |
| 5.5. | Examination procedures | 18 |
| 5.6. | Asurring quality of examination procedures | 20 |
| 5.7. | Post-examination procedures | 21 |
| 5.8. | Reporting of results | 21 |
| 5.9. | Release of results | 22 |
| 5.10. | Information management | 22 |

| REVISION HISTORY |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 0 | Initial release | - | 04/12/12 |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |

| QM 1.0 | GENERAL | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

| QM 1.1 | Index and revision status | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

The numbering of this quality manual directly corresponds to the numbering of ISO 15189.

This quality manual is only valid if all pages are at the same issue level as shown in

D 4031, index quality manual.

Updates to this manual will be made by re-issuing the relevant section of this manual and adapting the issue level in the index.

| QM 1.2 | Purpose | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

This quality manual documents our quality system and demonstrates the laboratory's ability to execute the indicated tests and to meet regulatory requirements.

This manual establishes compliance with ISO 15189: 2012.

| QM 2.0 | LABORATORY BACKGROUND | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

| QM 2.1 | Activities | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

Describe the background, activities, personnel and tests of your laboratory.

Our laboratory's tests / calibrations  include:

-- list out the tests performed by your laboratory --

-- Distinguish between the tests which are part of the quality system and those tests which are not. --

| QM 2.2 | History | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

Describe the history of your laboratory.

| QM 3.0 | DEFINITIONS AND CONVENTIONS | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

| QM 3.1 | Definitions and terminology | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

The quality manager is responsible for setting up and maintaining a list of definitions and conventions (D 0001).

Definitions from ISO/IEC, guide 2, edition 1986, "General terms and their definitions concerning standardization and related activities" are relevant.

The list is added to this quality manual.

| QM 3.2 | Abbreviations | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

The quality manager is responsible for setting up and maintaining a list of abbreviations used in the quality manual.

The list is added to the manual (D 0002).

| QM 4.0 | MANAGEMENT REQUIREMENTS | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

| QM 4.1 | Organization and management | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

4.1.1  Legal identity

4.1.1.1	The laboratory is authorized under State statute XYZ (NOTE: enter State statute title, number, and/or article number).

Indicate the legal identity of the laboratory. If the laboratory hasn't its own legal identity because it is  part of a larger organization, indicate the legal identity of this larger organization.

- 4.1.2   Organization

4.1.2.1	The laboratory is part of the State (NOTE: enter State and department of the State that the laboratory is a part of).  Authority, interrelation, and responsibilities of all laboratory personnel are on file in the form of job descriptions (D 50104) and organizational charts (D 50101).  The responsibilities of Quality Manager and Technical Manager are assigned to designated staff as shown in the organizational chart.

- 4.1.3	Responsibility

NOTE: The following is an example of  laboratory personnel responsibilities.  Indicate the responsibilities of key personnel belonging to the large organization that influence testing activities (QM, Tech M, Support M) too.

- Put general function descriptions in this manual

- Put detailed function descriptions and an organisation chart with names and replacements in separate documents (

Only for people influencing quality )(D 50104 and D 50101).

4.1.3.1	Director

The Director is responsible for the overall compliance of the laboratory to

this Quality Manual and is the direct supervisor of the State Metrologist.

4.1.3.2. Management (Program Manager, however named )

The management of the laboratory:

A.	implements and enforces the applicable good laboratory practices described in reference documents;

B.	provides resources, adjusts workloads, and provides training opportunities for laboratory staff to facilitate completion of assigned tasks in a safe work environment consistent with test requirements and personnel capabilities; and

C.	assigns deputies for both the technical and quality managers in the case of an absence.

4.1.3.2. Technical Manager

The technical manager :

A.	is a metrologist who has completed the required level of NIST OWM training as specified in accreditation requirements for the level at which the laboratory maintains accreditation;

B.	is responsible for the overall administrative and technical operations of the laboratory;

C.	specifies and/or approves all methodologies used;

D.	implements good laboratory practices by providing instruction and training as needed, develops work plans and procedures, and requires that these be followed in all day-to-day operations;

E.	assigns only competent personnel to complete tests;

F.	attests, by signature, to the validity of all laboratory tests and reports (a list of Approved Signatories is maintained in the laboratory (D 40310) and

G.	ensures continued accreditation of the laboratory.

4.1.3.4	Quality Manager

The quality manager :

A.	is a metrologist who has completed the required level of NIST OWM training as specified in accreditation requirements for the level at which the laboratory maintains accreditation;

B.	coordinates internal audits of the laboratory in accordance with Section 4.13 of this quality manual;

C.	maintains, analyzes, and updates statistical data and/or control charts;

D.	participates in available and relevant proficiency tests, round-robins, and/or interlaboratory collaborative studies;

E.	where necessary, identifies, develops, and implements improvement of the laboratory measurement capability to meet the requirements of NIST, department programs, and laboratory clients;

F.	maintains the quality manual; and

G.	has direct access to management and to the technical manager.

NOTE:	  Many laboratories are limited in staff.  These laboratories are often operated by one person or a part-time person.  In these cases, the responsibilities of both technical and quality manager fall on that person.  Special care and precaution must be taken and documented to ensure that the quality system and measurements are not adversely affected by limited laboratory staff.

4.1.4.  Financial or political considerations don't influence testing.

| QM 4.2 | Quality system | Version 1 | 03/06/2012 |
| --- | --- | --- | --- |

4.2.1. The quality system documentation consists of different levels:

- documented statements of the quality policy issued by the laboratory director (D 40201)

and the quality objectives (D 40202)

- this quality manual

- documented procedures required by all applicable standards: they detail the

implementation of requirements and guidelines for the operation.

- Instructions: they detail specific quality or inspection information and specific

instructions for performance or individual tasks.

- documents needed by the organization to ensure the effective planning, operation and

management of its processes, and

- records required by all applicable standards per the records procedure.

When the term documented procedure appears within this quality manual, the procedure is

established, documented, implemented and maintained.

Our laboratory maintains its documents on various media such as paper, electronic,

magnetic, optical, etc.

4.2.2. Our laboratory has established and maintains this quality manual that:

- defines the structure of the quality system.

- makes reference to the quality policy, the supporting procedures (also technical) and the

instructions.

- defines the roles and responsibilities of technical and quality staff

The quality system documentation is communicated to all relevant personnel. These

documents are understood and implemented. They are available at the location needed.

4.2.3. A list of the procedures, the instructions and the quality records which are included in the

quality system, is maintained (D 40301, D 40302, D 40303, D 40304, D 40305 and D

40306).